## Source System Mapping
Data File | Source System | Zone | Key Characteristics / Evidence | Notable Columns | Data Conventions | Integration Challenge
sensor_readings.csv | OSIsoft PI Data Archive (v2023 R2) | OT — L3 Operations (Historian) | Time-series telemetry collected from PLCs via OPC/PI interface. ~2,000 tags at 1s scan with 0.5% exception compression. Highest-volume table (~170M rows/day at production scale). | timestamp, equipment_id, sensor_tag, value, quality, status, line_id | • ISA-5.1 tags on Lines 1-2 (LINE1.TT-101.PV); simplified on Line 3 • OPC quality: 192=Good, 64=Uncertain, 0=Bad • line_id as 1/2/3 | • 3 timestamp formats in ONE column: ISO-8601 Z, naked local, and 13-digit epoch-ms (~8% of rows) • Sentinel error values (-999.99) + impossible negative vibration readings • Duplicate (ts, equipment, tag) keys from store-and-forward replay • Equipment IDs use 3 different schemes depending on line
alarms_events.csv | FactoryTalk View SE (SCADA) | OT — L2 Supervisory | Alarm and event records from SCADA alarm management. Routed onward to PI via the PI Alarms & Events interface. Sourced from Rockwell ControlLogix PLCs over EtherNet/IP. | alarm_id, timestamp, equipment_id, alarm_tag, severity, status, acknowledged_by, acknowledged_at, duration_seconds, line_id | • line_id as L1/L2/L3 • 'status' = ALARM LIFECYCLE: ACTIVE / ACKNOWLEDGED / SHELVED / CLEARED | • severity mixes TWO coding systems in one column: numeric 1-4 AND text LOW/MEDIUM/HIGH/CRITICAL • Mapping direction not inferable from data (is 1 = critical, or low?) • Must confirm with controls engineering — inverting it inverts every 'critical alarms' answer • line_id uses L1/L2/L3, unlike every other file
production_runs.csv | PostgreSQL 15 (custom production DB) | IT — Enterprise | Real-time production scheduling and shift management. Relational source, cleanest data of the five. REST API available for integration. | run_id, line_id, product_sku, start_time, end_time, status, target_volume, actual_volume, volume_unit, total_units, good_units, scrap_units, efficiency_pct, operator_id | • line_id as clean 1/2/3 • 'status' = RUN LIFECYCLE: COMPLETED / RUNNING / SCHEDULED / ABORTED / ON_HOLD • good + scrap = total (holds) | • volume_unit inconsistent: liters / L / gal / gallons • AND values are on the wrong SCALE — cross-check vs SKU size shows thousands of litres, mislabeled as litres • Fixing the unit label alone still leaves a 1000x error • Otherwise the cleanest source (referential integrity holds)
maintenance_logs.csv | SAP S/4HANA — PM (Plant Maintenance) module | IT — Enterprise (hosted on Azure) | Work orders, preventive maintenance schedules, equipment master data. Extracted via SAP BW/4HANA Open Hub or CDS views. Drives MTBF and MTTR KPIs. | work_order_id, asset_number, description, status, priority, type, created_date, completed_date, downtime_minutes, technician, parts_used | • Equipment referenced by SAP ASSET NUMBER (A-101…A-305), not SCADA equipment_id • 'status' = WORK ORDER LIFECYCLE: OPEN / IN_PROGRESS / COMPLETED / CANCELLED | • THE CRITICAL JOIN PROBLEM: SAP asset A-xxx has no relationship to SCADA IDs (EQ-1xx / EQUIP_2xx / 3xx) • Without a crosswalk, work orders cannot join to sensor data or alarms AT ALL • Mixes ISO and MM/DD/YYYY date formats • 'Preventive' and 'PM' are duplicate values for the same type — corrupts MTBF if not merged
quality_checks.csv | LabWare LIMS v8 | IT — Enterprise (via shared network drive) | Laboratory quality test results, exported as CSV to a network share every 30 minutes. Feeds First-Pass Yield and scrap-correlation analysis. | check_id, batch_id, line_id, check_type, parameter, value, lower_spec, upper_spec, result, checked_by, check_timestamp | • Tests: fill weight, cap torque, Brix, carbonation, pH, microbiological • 'result' = PASS / FAIL | • line_id inconsistent WITHIN THE SAME FILE: 'Line 1', 'Line-2', and bare '3' all appear • Per-line quality aggregation fragments into phantom lines unless normalized • result (PASS/FAIL) is internally consistent with spec limits — no issues found there
equipment_registry.json | Hybrid — SCADA/PI naming + SAP PM equipment master attributes | Spans OT and IT (effectively a hand-merged export) | The equipment master. Carries SCADA/PI identifiers but SAP-style attributes (criticality, install_date, last_maintenance) - evidence it was manually stitched together, which is exactly why conventions are inconsistent. | equipment_id, name, type, manufacturer, model, line, location, status, criticality, install_date, last_maintenance, specs | • 'status' = EQUIPMENT STATE: RUNNING / STOPPED / MAINTENANCE / DECOMMISSIONED • line as 'Line 1' vs bare '2' • criticality A/B/C (one stray lowercase 'c') | • FOUR equipment ID conventions: EQ-1xx (L1), EQUIP_2xx (L2), bare 3xx (L3) • install_date has FOUR date formats, incl. ambiguous day-first '15/03/2015' • 'specs' is polymorphic: JSON string / free text / null • EQ-110 DECOMMISSIONED, replaced by EQ-111 → requires SCD Type 2
(no file provided) | Line 3 Vibration Sensors -> Eclipse Mosquitto MQTT broker -> Edge Gateway | OT — L0/L1 Field (isolated edge island) | 100 accelerometers at 10 Hz = ~1,000 msg/sec. Payload: JSON with sensor_id, timestamp, x_accel, y_accel, z_accel, temperature. Stored as flat files on an edge gateway. | sensor_id, timestamp, x_accel, y_accel, z_accel, temperature | • MQTT JSON payload • Never integrated into PI — dead-ends at edge gateway | • THE ABSENCE IS THE POINT: no sample file exists because this data never reaches a system of record • Dead-ends at the edge gateway as flat JSON files • This is the plant's 'collected but not analyzed' pain point • Greenfield real-time use case: sub-minute vibration anomaly detection (Part 2)

## Legend & Notes
Apex Manufacturing — Source System Data Mapping
Zone colour key
Purple | OT — Operational Technology (plant floor: PLCs, SCADA, PI historian, MQTT edge)
Blue | IT — Information Technology (enterprise: SAP, PostgreSQL, LIMS)
Amber | Hybrid or missing — spans both zones, or has no sample file
The 'status' problem (appears in 5 files, means 5 different things)
sensor_readings.status | OPC data quality — GOOD / BAD / SUSPECT
production_runs.status | Run lifecycle — COMPLETED / RUNNING / SCHEDULED / ABORTED / ON_HOLD
maintenance_logs.status | Work order lifecycle — OPEN / IN_PROGRESS / COMPLETED / CANCELLED
alarms_events.status | Alarm state — ACTIVE / ACKNOWLEDGED / SHELVED / CLEARED
equipment_registry.status | Equipment operational state — RUNNING / STOPPED / MAINTENANCE / DECOMMISSIONED
Equipment identity — four schemes for the same physical assets
SCADA / PI / registry, Line 1 | EQ-101 ... EQ-111
SCADA / PI / registry, Line 2 | EQUIP_201 ... EQUIP_209
SCADA / PI / registry, Line 3 | 301 ... 310 (bare numeric)
SAP PM (maintenance_logs) | A-101 ... A-305 (asset numbers)
Key insight | OT and IT never connect today. The equipment crosswalk (ref.equipment_xref) is not a data-cleaning chore — it is the integration this plant has never had.